This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

injury prevention

Quick Review of Safety

Carbon Monoxide

PREVENTION

- Maintain clearance around ventilation intakes. Items positioned too close to intakes can restrict air flow.

- If any audible alarms for CO activate, you should evacuate immediately to assigned meeting point and inform supervisors or management of the problem.

- Opening windows or doors will not reduce carbon monoxide to safe levels immediately. If an alarm goes off evacuate the building and wait until given approval to reenter the premises.

- Any vehicle or piece of equipment that produces carbon monoxide should be operated outdoors or with proper ventilation.

- When servicing running vehicles, discharge exhaust outside using a duct or flexible hose connected to a mechanical exhaust system. Maintain all vehicles and equipment regularly. Poorly maintained or damaged equipment may create more carbon monoxide.

- If the ventilation equipment stops working report the situation to your supervisor or management. Stop operating fuel-burning equipment until the area is well-ventilated.

- Do not operate carbon monoxide-generating vehicles or equipment by a facility’s fresh air intake vents.

IF EXPOSED

- Exit the area and seek immediate medical attention if you suspect you may have CO poisoning.

- Alert a supervisor.

- Warn others to avoid entering the affected area.

injury prevention

Quick Review of Safety

Carbon Monoxide

PREVENTION

- Maintain clearance around ventilation intakes. Items positioned too close to intakes can restrict air flow.

- If any audible alarms for CO activate, you should evacuate immediately to assigned meeting point and inform supervisors or management of the problem.

- Opening windows or doors will not reduce carbon monoxide to safe levels immediately. If an alarm goes off evacuate the building and wait until given approval to reenter the premises.

- Any vehicle or piece of equipment that produces carbon monoxide should be operated outdoors or with proper ventilation.

- When servicing running vehicles, discharge exhaust outside using a duct or flexible hose connected to a mechanical exhaust system. Maintain all vehicles and equipment regularly. Poorly maintained or damaged equipment may create more carbon monoxide.

- If the ventilation equipment stops working report the situation to your supervisor or management. Stop operating fuel-burning equipment until the area is well-ventilated.

- Do not operate carbon monoxide-generating vehicles or equipment by a facility’s fresh air intake vents.

IF EXPOSED

- Exit the area and seek immediate medical attention if you suspect you may have CO poisoning.

- Alert a supervisor.

- Warn others to avoid entering the affected area.