injury prevention

Quick Review of Safety

Holiday Decorations Safety

PREVENTION

- Real evergreen decorations should be avoided.

- Keep exits and exit hallways clear. Decorations must not block doorways or exit hallways.

- Exit signage or safety equipment, such as fire extinguishers, must be easy to see and access.

- Decorations must not be hung from sprinkler heads or interfere with their operation. Avoid all decorations with open flames or excessive heat.

- Do not place staples or nails through strings of holiday lights, power strips or extension cords.

- Follow manufacturer recommendations about how many sets of lights can be strung together.

- Any electric decorations or lights should be certified by an independent testing laboratory, such as Underwriters Laboratories (UL).

- Be aware of circuit loads. Do not plug too many items into a power strip or extension cord.

- Extension cords or power strips should be plugged directly into wall outlets and not each other.

- All powered lights or decorations should be unplugged at the end of the workday.

- Fire-resistant artificial trees are recommended to reduce the risk of fires. Be sure to look for the fire-resistant rating.

- Decorations on the tree such as garland should also be fire resistant.

- Secure trees and large decorations to prevent them from tipping over.

(Over)

injury prevention

Quick Review of Safety

Holiday Decorations Safety

PREVENTION

- Real evergreen decorations should be avoided.

- Keep exits and exit hallways clear. Decorations must not block doorways or exit hallways.

- Exit signage or safety equipment, such as fire extinguishers, must be easy to see and access.

- Decorations must not be hung from sprinkler heads or interfere with their operation. Avoid all decorations with open flames or excessive heat.

- Do not place staples or nails through strings of holiday lights, power strips or extension cords.

- Follow manufacturer recommendations about how many sets of lights can be strung together.

- Any electric decorations or lights should be certified by an independent testing laboratory, such as Underwriters Laboratories (UL).

- Be aware of circuit loads. Do not plug too many items into a power strip or extension cord.

- Extension cords or power strips should be plugged directly into wall outlets and not each other.

- All powered lights or decorations should be unplugged at the end of the workday.

- Fire-resistant artificial trees are recommended to reduce the risk of fires. Be sure to look for the fire-resistant rating.

- Decorations on the tree such as garland should also be fire resistant.

- Secure trees and large decorations to prevent them from tipping over.

(Over)

This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

- Any decorations in areas where children may be present should be located out of reach. Decorations should not be sharp, easily breakable or present a choking hazard. Avoid decorations that resemble candy.

- Avoid using electric lights on a metallic or electrically conductive tree.

- When putting up decorations use safety ladders or ask others for help. Never use a chair or climb on a desk.

- Use safer lifting techniques when necessary to avoid strains, sprains and falls.

- Be mindful of extension cords, decorations or other items across walkways that could present a tripping hazard. If a cord crosses a walkway, it should be properly covered.

HAZARD REPORTING

- If you discover any of the items discussed, it is important to report them. We want to keep the area safe.

- You can report any hazards by speaking to your supervisor or by other means.

- Any decorations in areas where children may be present should be located out of reach. Decorations should not be sharp, easily breakable or present a choking hazard. Avoid decorations that resemble candy.

- Avoid using electric lights on a metallic or electrically conductive tree.

- When putting up decorations use safety ladders or ask others for help. Never use a chair or climb on a desk.

- Use safer lifting techniques when necessary to avoid strains, sprains and falls.

- Be mindful of extension cords, decorations or other items across walkways that could present a tripping hazard. If a cord crosses a walkway, it should be properly covered.

HAZARD REPORTING

- If you discover any of the items discussed, it is important to report them. We want to keep the area safe.

- You can report any hazards by speaking to your supervisor or by other means.