injury prevention

Quick Review of Safety

Shop Housekeeping

REDUCE SLIP, TRIP AND FALL HAZARDS

- Keep all walkways, stairways and door exits clear. Don’t leave cabinet doors or drawers opened into walkways.

- Put away cords, hoses and tools when not in use.

- Cover or report holes that are open in the floor.

- Monitor floor mats, carpets and rugs for signs of wrinkling, curling and saturation.

- Promptly clean up any spills or messes if you can do so safely.  Promptly report blood or unknown spills.

- Keep floors as dry and clean as possible.

- Ensure drains are cleared so water will not pool.

REDUCE FIRE HAZARDS

- Fire extinguishers, sprinklers, first-aid stations, automated external defibrillators (AEDs), eyewash stations and electrical panels must be left unobstructed.

  - Electrical panels must have at least 36 inches of clearance in front of the panel and 30 inches wide or the width of the panel, whichever is larger.

- Avoid storing items in boiler or mechanical rooms.

- Avoid placing combustible materials in close proximity to spark-generating equipment and heat sources.

- Store flammables in a flammable cabinet or flammable storage room and keep doors closed. Keep flammables away from stairs and exit paths.

- Dispose of oily, paint-soaked or other flammable waste into approved, covered metal waste receptacles.

(Over)

injury prevention

Quick Review of Safety

Shop Housekeeping

REDUCE SLIP, TRIP AND FALL HAZARDS

- Keep all walkways, stairways and door exits clear. Don’t leave cabinet doors or drawers opened into walkways.

- Put away cords, hoses and tools when not in use.

- Cover or report holes that are open in the floor.

- Monitor floor mats, carpets and rugs for signs of wrinkling, curling and saturation.

- Promptly clean up any spills or messes if you can do so safely.  Promptly report blood or unknown spills.

- Keep floors as dry and clean as possible.

- Ensure drains are cleared so water will not pool.

REDUCE FIRE HAZARDS

- Fire extinguishers, sprinklers, first-aid stations, automated external defibrillators (AEDs), eyewash stations and electrical panels must be left unobstructed.

  - Electrical panels must have at least 36 inches of clearance in front of the panel and 30 inches wide or the width of the panel, whichever is larger.

- Avoid storing items in boiler or mechanical rooms.

- Avoid placing combustible materials in close proximity to spark-generating equipment and heat sources.

- Store flammables in a flammable cabinet or flammable storage room and keep doors closed. Keep flammables away from stairs and exit paths.

- Dispose of oily, paint-soaked or other flammable waste into approved, covered metal waste receptacles.

(Over)

This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

REDUCE OTHER HAZARDS

- When storing items, ensure that the material is stable and not protruding from shelves.

- Ensure storage on mezzanines is stable and protected from falling.

- Maintain clearance around air intake vents.

- Put trash in appropriate containers. Keep desk, breakroom and work areas clean.

REDUCE OTHER HAZARDS

- When storing items, ensure that the material is stable and not protruding from shelves.

- Ensure storage on mezzanines is stable and protected from falling.

- Maintain clearance around air intake vents.

- Put trash in appropriate containers. Keep desk, breakroom and work areas clean.